## Slide 1: IRRIGATION FOR THE HOME GARDEN
JANUARY 2019
PRESENTER VICTOR SCHNEIDER
ADVENTIST AGRICULTURAL ASSOCIATION

## Slide 2: THINGS TO CONSIDER
WATER SOURCE
WELL, POND, STREAM, RAIN BARREL, WATER HAULED IN
AMOUNT OF WATER AVAILABLE
SOIL TYPE AND CONDITION
METHOD OF IRRIGATION
FILTRATION
BUDGET
TIME

## Slide 3: WELL WATER, RAIN BARREL, POND OR STREAM
FLAT OR RAISED BEDS
TEST FOR MINERALS, IRON, MAGANESE, HARDNESS, TDS, BACTERIA, NITRATE, ARSNIC
BASED ON QUANTITY AND QUALITY WHAT METHOD WILL YOU USE
FLOOD, SPRINKLER, DRIP
WHAT IS PRESSURE FROM WEEDS FLOOD AND SPRINKLER MAY GIVE WEEDS A HEAD START
DRIP CAN BE 90% OR MORE EFFICIENT
SPRINKLER CAN BE 65% EFFICIENT

## Slide 6: THINGS TO CONSIDER
DO NOT USE WHITE PVC AS SUNLIGHT WILL CAUSE IT TO YELLOW AND WILL ALLOW ALGEA TO GROW IN PIPING
GRAY ELECTRICAL CONDUIT WILL BLOCK UV RAYS TO AVOID THAT ISSUE
A LOT OF GARDNERS CHOOSE POLY PIPE BECAUSE THE THINK PVC IS LEACHING CEMICALS INTO WATER
CHOOSE SPACING AND ROW WIDTH AND LENGTH TO ALLOW FOR ROTATION
SET IT UP RIGHT AND IT WILL WORK FOR YEARS
STUB UP TO EDGE OF EACH BED OR ROW TO ALLOW WORKING BEDS BETWEEN CROPS WITHOUT HAVING UNDERGROUND PART IN WAY

## Slide 7: WHAT IS WRONG WITH THIS PICTURE?

## Slide 12: NON PC EMITTERS FOR GRAVITY FLOW

## Slide 16
WHEN TO USE A PRESSURE REGULATOR AND OR ANTISIPHON DEVICE

## Slide 17
CAN YOU TELL TAPE FITTINGS FROM DRIP FITTINGS?

## Slide 18: DO YOU NEED A INJECTOR

## Slide 19: RAIN BARREL THOUGHTS
CONTROL VALVE
MUST BE BALL VALVE TYPE TO OPEN WITH LOW PRESSURE
EMITTER
PC EMITTERS START OPENING AT 5 PSE

## Slide 20: QUESTIONS?